# (PLXB) Software Release Notes to Validation

CONFIDENTIAL

| Document Number: | 1411017-RN |
| --- | --- |
| Document Revision: | 8 |
| For Software Part Number: | 1411017-AW |
| Description: | Biospa IQOQPQ package |

Approvals:

______________________________Lead Software Engineer  		_______________Date

______________________________Project Manager			_______________Date

Table of Contents

Document Revision History	3

Summary	4

Version 2D	5

Changes Introduced	5

Open Source Scan Results	5

EPR Review	6

EPR Fixes	6

Test Recommendations	6

Defect Review	6

Defects Waiting for Verification	6

Test Recommendations	6

Known Issues or Limitations	6

Notes	6

Version 1D	7

Changes Introduced	7

Open Source Scan Results	7

EPR Review	7

EPR Fixes	8

Test Recommendations	8

Defect Review	8

Defects Waiting for Verification	8

Test Recommendations	8

Known Issues or Limitations	8

Notes	8

# Document Revision History

Describe changes made to this document:

| Revision | Description of Change | Date |
| --- | --- | --- |
| 1 | First issue | 2/11/16 |
| 2 | Corrections identified in R1. | 2/17/16 |
| 3 | Added information on v1A | 11/16/17 |
| 4 | Updated for v1B | 07/13/21 |
| 5 | Updated for v2B | 08/12/21 |
| 6 | Added info about v1C | 07/07/22 |
| 7 | Added information on v1D | 03/08/24 |
| 8 | Corrections identified in R1 | 03/26/24 |

# Summary

This document contains release information and history for the subject software part number and is required per QA55.02 Software Release/Configuration Management Policy when conducting an Engineering Release of Software.

- Release information appears in reverse chronological order with the most recent software version presented at the beginning of the document.

- This document is intended to provide an overall summary of the changes introduced from one Manufacturing revision to the next. It is intended for use with engineering testing, verification, and validation activities.

- For Customer Specific Software, developed in accordance with R&DOP10, a complete Engineering revision history shall be maintained; do not delete information for the previous engineering revisions.

- For software not subject to PLXB Validation: the minimum required fields “Engineering Release Information” and “Supporting Documentation” within this form shall be completed; all other fields are optional.

- Further information may be needed to gather a complete understanding of the change introduced. That detailed information may reside in product specifications, functional specifications, other design specifications, the PLXB Problem Reporting System, or SparkFlow (if used).

# Version 2D

| Engineering Release Information |  |
| --- | --- |
| Date: | 03/26/24 |
| Releasing Engineer: | Steve Arrants |
| Revision: | 2D |
| Build File ID: | N/A |
| SparkFlow Project: | N/A |
| Project Archive Name: | N/A |
| Archive Location: | N/A |
| Release Level: | Level II (unvalidated) |

| Supporting Documentation |  |  |
| --- | --- | --- |
| Document Number | Document Title | Revision* |
| 770000-SP | Product Specification for IQOQPQ Procedures | F |
| XXXXXXX-RR | Product Risk Management Report | N/A |
| XXXXXXX-RRW | Risk Analysis Excel Worksheet | N/A |
| XXXXXXX-BP | Build Procedure | N/A |
| XXXXXXX-SDP | Software Development Plan | N/A |

* Enter N/A if the document type is not required for this release; consult the Engineering Project Manager.

## Changes Introduced

- Removed extra pages in the PQ logbook.

- Replaced IQ checklist with a corrected version.

- Removed some part numbers, where indicated, from figures.

- Corrected part numbers and footnotes in the Integration Kits table.

- Fixed bad page breaks.

- Removed Software Versions from the Notices page.

## Open Source Scan Results

N/A. The product does not contain Open Source software.

## EPR Review

This version contains no open, unresolved A / B severity EPRs.

## EPR Fixes

The following EPRs were fixed in this version: NONE

## Test Recommendations

An abbreviated validation session is acceptable.

## Defect Review

N/A.

## Defects Waiting for Verification

N/A

## Test Recommendations

N/A

## Known Issues or Limitations

N/A

## Notes

N/A

# Version 1D

| Engineering Release Information |  |
| --- | --- |
| Date: | 03/08/24 |
| Releasing Engineer: | Steve Arrants |
| Revision: | 1D |
| Build File ID: | N/A |
| SparkFlow Project: | N/A |
| Project Archive Name: | N/A |
| Archive Location: | N/A |
| Release Level: | Level II (unvalidated) |

| Supporting Documentation |  |  |
| --- | --- | --- |
| Document Number | Document Title | Revision* |
| 7770000-SP | Product Specification for IQOQPQ Procedures | F |
| XXXXXXX-RR | Product Risk Management Report | N/A |
| XXXXXXX-RRW | Risk Analysis Excel Worksheet | N/A |
| XXXXXXX-BP | Build Procedure | N/A |
| XXXXXXX-SDP | Software Development Plan | N/A |

* Enter N/A if the document type is not required for this release; consult the Engineering Project Manager.

## Changes Introduced

- Added support for a new Cytation C10 isolation table.

- Reformatted the IQ and OQ checklists, the PQ, PM, and traceability logbooks.

- Edited and reformatted the READ ME Locked Files and READ ME BioSpa 8 IQOQPQ files.

- Minor edits to text and images.

## Open Source Scan Results

N/A. The product does not contain Open Source software.

## EPR Review

This version contains no open, unresolved A / B severity EPRs.

## EPR Fixes

The following EPRs were fixed in this version: NONE

## Test Recommendations

An abbreviated validation session is acceptable.

## Defect Review

N/A.

## Defects Waiting for Verification

N/A

## Test Recommendations

N/A

## Known Issues or Limitations

N/A

## Notes

N/A