| Model: |  |  |
| --- | --- | --- |
| Serial Number: |  |  |
| Date: |  | Installation or Shipping Date: |
| Location: |  |  |

| # | Step | Result/Information |
| --- | --- | --- |
| OQ-1 | Run the System Test System Test pass? | PASS FAIL N/A |
|  | Verify Software Information Correct/expected versions of software installed on the host computer, and BioSpa? | YES NO N/A |
|  | Record BioSpa Software Info Model: Serial Number: Installation Version: PC Software Version: Motor Controller Basecode: Gas Controller Basecode: Temperature Controller Basecode: LHC Version: Gen5 Version: | N/A |
| OQ-2 | Verify Alignment Alignment verification test pass? | PASS FAIL N/A |
| OQ-3 | Verify Gas Sensor Gas sensor verification test pass? | Not required at initial installation PASS FAIL N/A |
| OQ-4 | Verify Temperature Sensor Temperature sensor verification test pass? | Not required at initial installation PASS FAIL N/A |
| OQ-5 | Verify Water Level Sensor Water level verification test pass? | Not required at initial installation PASS FAIL N/A |

| NOTE | The gas, temperature, and water-level sensors were fully tested at the factory before shipment. You do not need to perform these sensor verification steps for new instruments. Instead, perform these tests at the first and subsequent annual operation qualifications. |
| --- | --- |

Comments:

| Operational Qualification Conducted By: | Date: |
| --- | --- |

PRINT Name:

| If required, reviewed/approved by: N/A | Date: |
| --- | --- |

PRINT Name: